CONTRACTOR

SCOPE OF WORK

xxxx Stoney Cove

Austell, GA  30168

SYSTEMS

Plumbing

- Repair Hot Water Heater (and ensure it’s to-code)

HVAC

- Replace A/C Unit

- Low air flow in breakfast nook and foyer…verify adequate ducting

INTERIOR

General

- Demo

- Repair (3) holes in sheetrock

- Replace all receptacles, outlet covers, switches, and switch covers with new

- Replace all HVAC registers and returns with new

- Replace all interior and exterior door hardware

- Install mini-blinds on all windows

- Cover doorbell transformer

Painting

- Patch all walls (remove/caulk nails, remove wallpaper, etc) and trim in preparation for paint

- Scrape “popcorn” texture off all ceilings

- Paint entire interior with three color paint scheme (walls, trim, ceiling)

Flooring

- Replace vinyl flooring in kitchen, both bathrooms, and laundry area

- Replace all existing carpet

- Refinish wood floor in foyer

Doors

- Replace 3 exterior doors (front, back, garage) with new doors

- Replace 5 interior doors with new slabs (or pre-hung, if necessary):

  - (3) Bedroom doors

  - (1) Hall bath door

  - (1) 18” Closet door

- Replace other doors (master bath and closets) with the best of the removed doors

Windows

- Replace 11 windows with new

  - (6) Kitchen/Dining Room Windows

  - (3) Bedroom Windows

  - (1) Living Room Window

  - (1) Hall Bath Window

Lighting

- Replace 14 light/fan fixtures:

  - (1) Entryway/Foyer

  - (1) Dining Room

  - (2) Kitchen (w/Track Lights)

  - (1) Breakfast Area

  - (1) Living Room

  - (3) Bedroom

  - (2) Bath Vanity

  - (1) Master Bath Entryway

  - (1) Hallway

  - (1) Basement Hallway

Basic Plumbing

- Replace (3) sets of faucet hardware

  - (1) Kitchen sink

  - (1) Master bath sink

  - (1) Hall bath sink

- Replace (2) toilets

  - (1) Master bath

  - (1)

Kitchen

- Replace all countertops with custom-ordered formica/Wilsonart

- Refinish (sand, prime, paint) cabinet boxes

- Replace cabinet doors

- Install backsplash (TBD?) behind counters

- Replace all appliances (stove, microwave, fridge, dishwasher)

- Install new sink

Living Room

- Replace fireplace façade

Laundry Room

- Install washer/dryer

Hallway Bathroom

- Replace vanity countertop

- Replace sink

- Replace vanity doors

Master Bathroom

- Replace vanity countertop

- Replace sink

- Replace vanity doors

- Replace shower door

- Refinish (re-glaze) tub

Garage

- Repair/replace (2) garage doors

- Ensure (2) garage door openers are operable

EXTERIOR

Roof

- Replace roof, flashing, etc

- Replace gutters

- Replace chimney cap

Siding

- Repair soffits/fascia board as necessary

- Repair trim and window sills as necessary

- Replace damaged siding as necessary

Paint

- Paint exterior using 2 color scheme (siding, trim)

- Paint front porch

Front Steps/Deck

- Repair damaged decking boards, treads, and kickers

- Repair/replace handrail

Back Deck

- Reinforce deck frame as necessary

- Replace/repair stringer and steps as necessary

- Replace decking boards

- Replace handrail

Landscaping

- Remove existing “pond” and fill with dirt

- Trim all shrubs/bushes away from house siding

- Remove back tree that is threatening the house

- Clear back yard as discussed